## Main
Seneca Software & Solar, Inc.
P.O. Box 506
Nederland, CO 80466
http://www.senecass.com
Power Consumption Worksheet
Type | AC Device | Peak | Watts | Consumption | Profile
Computers |  |  |  |  | House
| Laptop 12V supply |  | 0 | 0 | 0
| Laser Printer | 457W (peak) | 0 | 0 | 0
| LCD Monitor |  | 0 | 0 | 0
| Laptop |  | 0 | 0 | 0
| Docking Station |  | 0 | 0 | 0
| S21 Monitor |  | 0 | 0 | 0
| KDS Monitor |  | 0 | 0 | 0
| Nokia Monitor |  | 0 | 0 | 0
| Embedded PC |  | 0 | 0 | 0
| Octagon PC500 |  | 0 | 0 | 0
| Debian Box |  | 0 | 0 | 0
| NT Box |  | 0 | 0 | 0
| SUSE Box |  | 0 | 0 | 0
| Sun Ultra 1 |  | 0 | 0 | 0
| HP J5600 |  | 0 | 0 | 0
| Router |  | 0 | 0 | 0
| DSU/CSU |  | 0 | 0 | 0
| Terminal Server |  | 0 | 0 | 0
| 56K US Robotics Modem |  | 0 | 0 | 0
| PC Speakers |  | 0 | 0 | 0
Kitchen
| Coffee Grinder |  | 0 | 0 | 0
| Toaster Oven | (1450 peak) | 0 | 0 | 0
| Blender |  | 0 | 0 | 0
| Dish Washer | (1455 peak) | 0 | 0 | 0
Tools
| Soldering Iron |  | 0 | 0 | 0
| Sewing Machine | (15W lamp) | 0 | 0 | 0
| Glue Gun |  | 0 | 0 | 0
| Rotary Hand Saw |  | 0 | 0 | 0
| Small Hand drill |  | 0 | 0 | 0
| Table Saw |  | 0 | 0 | 0
| Drill Press |  | 0 | 0 | 0
| Jigsaw |  | 0 | 0 | 0
| Cordless Tool Charger |  | 0 | 0 | 0
Household
| Stereo/Amp |  | 0 | 0 | 0
| Tape Deck |  | 0 | 0 | 0
| TV |  | 70 | 0 | 0
| VCR |  | 40 | 0 | 0
| CD Player |  | 0 | 0 | 0
| Cordless Phone |  | 0 | 0 | 0
| Yaesu Charger |  | 0 | 0 | 0
| Maxon Charger |  | 0 | 0 | 0
| Cell Charger |  | 0 | 0 | 0
| Alarm Clock |  | 0 | 0 | 0
| 120VAC Lights | 15 | 0 | 0 | 0
| 24VDC Lights | 3 | 15 | 0 | 0
| Clothes Washer |  | 0 | 0 | 0
Heavy Loads
| Refrigerator |  | 0 | 0 | 0
| Hot Tub Pump |  | 0 | 0 | 0
| Deep Well Pump |  | 0 | 0 | 0
| Water Pressure Booster Pump |  | 0 | 0 | 0
| Vacuum |  | 0 | 0 | 0
| Total Watt/Hours |  |  | 0
| Adjusted for Inefficiency |  |  | 0
Module Sizing
| System Nominal Voltage |  |  | 24
| PV Array Voltage |  |  | 48
| Total Amp Hours Per Day |  |  | 0
| Lowest Temperature |  |  | 30
| Charger Losses Multiplier |  |  | 0
| Battery Losses |  |  | 0
| Hours per day of Sun |  |  | 4
| Total Array Current in Amps Needed |  |  | 0
| Module Model |  |  | 165W
| Number of Modules Needed in Series |  |  | 0
| Number of Modules Needed in Parallel |  |  | 0
| Total Number of Modules Needed |  |  | 0
| Total Array Length in feet |  |  | 0
| Total Array Width in feet |  |  | 0
| Total Cost of Modules |  |  | 0
Module Data
| Manufacturer |  |  | 0
| Cell Type |  |  | 0
| Module Wattage |  |  | 0
| Module Nominal Voltage |  |  | 0
| Module Amperage |  |  | 0
| Module Open Voltage |  |  | 0
| Module Short Circuit |  |  | 0
| Module Length |  |  | 0
| Module Width |  |  | 0
| Module Cost |  |  | 0
Wire & Breaker sizing
| Cold Weather factor (-40F) |  |  | 1.25
| True Amperage per panel |  |  | 0
| Total Array amperage |  |  | 0
| Max Array Voltage |  |  | 0
| Max Array Ampacity |  |  | 0
Battery Sizing
| Reserve Time in Days |  |  | 4
| Usable Battery Capacity |  |  | 50%
| Min Capacity in Amp Hours |  |  | 0
| Battery Model |  |  | JRB8796
| Battery Amp Hour Capacity |  |  | 0
| Number of Batteries in Parallel |  |  | 0
| Battery Voltage |  |  | 0
| Number of Batteries in Series |  |  | 0
| Total Number of Batteries Needed |  |  | 0
| Total Battery Amp Hours |  |  | 0
| Total Cost of Batteries |  |  | 0
Power Control
| Inverter Model |  |  | SW4024
| Inverter Output |  |  | 0
| Inverter Voltage |  |  | 0
| Inverter Price |  |  | 0
| Power Center Model |  |  | DC250
| Power Center Price |  |  | 0 | (without inverter)
| Total Price |  |  | 0
Total Cost of System |  |  |  | 0 | (without sales tax)
Sales Tax |  |  |  | 6% | (Colorado)
Discount (if any) |  |  |  | 0%
Discounted cost |  |  |  | 0
Single System Configuration
Module Sizing
| System Nominal Voltage |  |  | 12
| PV Array Voltage |  |  | 12
| Total Amp Hours Per Day |  |  | 18
| Lowest Temperature |  |  | 60
| Charger Losses Multiplier |  |  | 0
| Battery Losses |  |  | 0
| Hours per day of Sun |  |  | 4
| Total Array Current in Amps Needed |  |  | 0
| Module Model |  |  | KC70
| Number of Modules Needed in Series |  |  | 0
| Number of Modules Needed in Parallel |  |  | 0
| Total Number of Modules Needed |  |  | 0
| Total Array Length in feet |  |  | 0
| Total Array Width in feet |  |  | 0
| Total Cost of Modules |  |  | 0
Module Data
| Manufacturer |  |  | 0
| Cell Type |  |  | 0
| Module Wattage |  |  | 0
| Module Nominal Voltage |  |  | 0
| Module Amperage |  |  | 0
| Module Open Voltage |  |  | 0
| Module Short Circuit |  |  | 0
| Module Length |  |  | 0
| Module Width |  |  | 0
| Module Cost |  |  | 0
Wire & Breaker sizing
| Cold Weather factor (-40F) |  |  | 1.25
| True Amperage per panel |  |  | 0
| Total Array amperage |  |  | 0
| Max Array Voltage |  |  | 0
| Max Array Ampacity |  |  | 0
Battery Sizing
| Reserve Time in Days |  |  | 4
| Usable Battery Capacity |  |  | 50%
| Min Capacity in Amp Hours |  |  | 0
| Battery Model |  |  | 15101
| Battery Amp Hour Capacity |  |  | 0
| Number of Batteries in Parallel |  |  | 0
| Battery Voltage |  |  | 0
| Number of Batteries in Series |  |  | 0
| Total Number of Batteries Needed |  |  | 0
| Total Battery Amp Hours |  |  | 0
| Total Cost of Batteries |  |  | 0
Total Cost of System |  |  |  | 0 | (without sales tax)
Sales Tax |  |  |  | 6% | (Colorado)
Discount (if any) |  |  |  | 0%
Discounted cost |  |  |  | 0
Note on F9: Change this to toggle between different Profiles
Note on E71: This is the voltage of the power system.
Note on E72: This is the voltage of the wire run between the PV Array and the charge controller.
Note on E74: The expected average temperature goes here. Play with this number, and you'll see why heated battery compartments are a good idea.
Note on E75: For every 15F below 77F, efficiency decreases by 10%
Note on E77: This is how many hours a day of sun you get. 5 is about the average.
Note on E84: These are a rough guess based on max density.
Note on E139: This is the voltage of the power system.
Note on E140: This is the voltage of the wire run between the PV Array and the charge controller.
Note on E142: The expected average temperature goes here. Play with this number, and you'll see why heated battery compartments are a good idea.
Note on E143: For every 15F below 77F, efficiency decreases by 10%
Note on E145: This is how many hours a day of sun you get. 5 is about the average.
Note on E152: These are a rough guess based on max density.

## Profiles
Usage Profiles
|  | Office | [5 empty] | House
Type | AC Device | Used | Watts | Quantity | Daily Usage | Days Used | Consumption | Used | Quantity | Daily Usage | Days Used | Consumption
Computers
| Laptop 12V supply | Y | 24 | 2 | 6 | 3 | 0 | N | 1 | 2 | 5 | 0
| Laser Printer | Y | 200 | 1 | 0 | 7 | 0 | N | 1 | 0 | 3 | 0
| LCD Monitor | Y | 30 | 1 | 8 | 6 | 0 | N | 1 | 8 | 7 | 0
| Laptop | N | 20 | 1 | 1 | 3 | 0 | N | 1 | 6 | 7 | 0
| Docking Station | N | 34 | 1 | 6 | 7 | 0 | N | 1 | 6 | 7 | 0
| S21 Monitor | N | 103 | 1 | 2 | 7 | 0 | N | 1 | 2 | 7 | 0
| KDS Monitor | Y | 83 | 1 | 2 | 7 | 0 | N | 1 | 2 | 7 | 0
| Nokia Monitor | N | 73 | 1 | 2 | 7 | 0 | N | 1 | 2 | 7 | 0
| Embedded PC | Y | 5.8 | 1 | 24 | 7 | 0 | Y | 1 | 24 | 7 | 0
| Octagon PC500 | N | 8 | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| Debian Box | Y |  | 1 | 24 | 7 | 0 | N | 1 | 6 | 7 | 0
| NT Box | Y |  | 1 | 2 | 7 | 0 | N | 1 | 2 | 7 | 0
| SUSE Box | N | 53 | 1 | 2 | 7 | 0 | N | 1 | 2 | 7 | 0
| Sun Ultra 1 | Y |  | 1 |  | 7 | 0 | N | 1 |  | 7 | 0
| HP J5600 | Y | 0 | 1 | 1 | 1 | 0 | N | 1 | 1 | 1 | 0
| Router | Y |  | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| DSU/CSU | Y |  | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| Terminal Server | N | 20 | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| Zycel 1496+ Modem | N | 6 | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| 56K US Robotics Modem | N | 4 | 1 | 24 | 7 | 0 | N | 1 | 24 | 7 | 0
| PC Speakers | Y | 4 | 1 | 8 | 6 | 0 | N | 1 | 8 | 6 | 0
Kitchen
| Coffee Grinder | N | 93 | 1 | 0 | 7 | 0 | Y | 1 | 0 | 7 | 0
| Toaster Oven | Y | 240 | 1 | 1 | 2 | 0 | Y | 1 | 1 | 2 | 0
| Blender | N | 531 | 1 | 0.05 | 0.03 | 0 | N | 1 | 0.05 | 0.03 | 0
| Dish Washer | N | 684 | 1 | 0.9 | 6 | 0 | Y | 1 | 0.9 | 6 | 0
Tools
| Soldering Iron | Y |  | 1 | 1 | 0.03 | 0 | N | 1 | 1 | 0.03 | 0
| Sewing Machine | N | 51 | 1 | 1 | 1 | 0 | Y | 1 | 1 | 1 | 0
| Glue Gun | N | 5 | 1 | 1 | 1 | 0 | N | 1 | 1 | 1 | 0
| Rotary Hand Saw | N |  | 1 | 10 | 0.03 | 0 | N | 1 | 10 | 0.03 | 0
| Small Hand drill | N |  | 1 | 5 | 0.03 | 0 | N | 1 | 5 | 0.03 | 0
| Table Saw | N |  | 1 | 5 | 0.03 | 0 | N | 1 | 5 | 0.03 | 0
| Drill Press | N |  | 1 | 2 | 0.03 | 0 | N | 1 | 2 | 0.03 | 0
| Jigsaw | N |  | 1 | 2 | 0.03 | 0 | N | 1 | 2 | 0.03 | 0
| Cordless Tool Charger | Y | 70 | 1 | 2 | 1 | 0 | N | 1 | 2 | 1 | 0
Household
| Stereo/Amp | Y | 35 | 1 | 6 | 7 | 0 | Y | 1 | 6 | 7 | 0
| Tape Deck | Y | 9 | 1 | 1 | 7 | 0 | Y | 1 | 1 | 7 | 0
| TV | Y | 70 | 1 | 2 | 0 | 0 | Y | 1 | 2 | 6 | 0
| VCR | Y | 40 | 1 | 2 | 0 | 0 | Y | 1 | 2 | 6 | 0
| CD Player | Y | 9 | 1 | 6 | 7 | 0 | Y | 1 | 6 | 7 | 0
| Cordless Phone | Y | 2 | 1 | 24 | 7 | 0 | Y | 1 | 24 | 7 | 0
| Yaesu Charger | Y | 1 | 1 | 14 | 0 | 0 | N | 1 | 14 | 0 | 0
| Maxon Charger | Y | 1 | 1 | 14 | 0 | 0 | N | 1 | 14 | 0 | 0
| Cell Charger | Y | 3 | 1 | 2 | 0.03 | 0 | Y | 1 | 2 | 0.03 | 0
| Alarm Clock | N | 1 | 1 | 24 | 7 | 0 | Y | 1 | 24 | 7 | 0
| 120VAC Lights | N | 15 | 2 | 5 | 7 | 0 | Y | 2 | 5 | 7 | 0
| 24VDC Lights | Y | 15 | 3 | 0 | 7 | 0 | Y | 3 | 0 | 7 | 0
| Clothes Washer | N | 10 | 1 | 1 | 2 | 0 | Y | 1 | 1 | 2 | 0
Heavy Loads
| Refrigerator | N | 0 | 1 | 6 | 7 | 0 | Y | 1 | 1 | 7 | 0
| Hot Tub Pump | N | 0 | 1 | 6 | 7 | 0 | N | 1 | 6 | 7 | 0
| Deep Well Pump | N | 103 | 1 | 2 | 7 | 0 | Y | 1 | 2 | 7 | 0
| Water Pressure Booster Pump | N | 0 | 1 | 2 | 7 | 0 | Y | 1 | 2 | 7 | 0
| Vacuum | N |  | 1 | 1 | 0.03 | 0 | Y | 1 | 1 | 0.03 | 0
| Total Watt/Hours | [5 empty] | 0 |  |  |  |  | 0
| Adjusted for Inefficiency | [5 empty] | 0 |  |  |  |  | 0
Note on D33: 0.769 Kwh used in 0.9 hours
Note on D57: 25 minutes: .209kw total Peak 10W 117W when spinning

## Panels
Raw PV Data
| Model | Watts | Volts | Amps | Open Circuit Voltage | Short Circuit Current | Length | Width | Type | Manufacturer | Cost | Cost Per Watt
Unisolar | US5 | 32 | 16.5 | 0.3 | 23.8 | 0.37 | 21.8 | 9.7 | Triple Junction | UniSolar | 58 | 0
| US11 | 11 | 16.5 | 0.62 | 23.8 | 0.78 | 21.8 | 16.7 | Triple Junction | UniSolar | 109 | 0
| US21 | 21 | 16.5 | 1.27 | 23.8 | 1.59 | 36.5 | 15.1 | Triple Junction | UniSolar | 153 | 0
| US32 | 32 | 16.5 | 1.94 | 23.8 | 2.4 | 56.3 | 16.7 | Triple Junction | UniSolar | 187 | 0
| US42 | 42 | 16.5 | 2.54 | 23.8 | 3.17 | 36.5 | 29.1 | Triple Junction | UniSolar | 232 | 0
| US64 | 64 | 16.5 | 3.88 | 23.8 | 4.8 | 53.8 | 29.1 | Triple Junction | UniSolar | 309 | 0
Shell | SR50 | 50 | 17 | 2.95 | 21.4 | 3.4 |  |  | Single-crystal | Shell | 329 | 0
| SR55 | 55 | 17.4 | 3.15 | 21.7 | 3.45 | 50.9 | 13 | Single-crystal | Shell | 379 | 0
| SP70 | 70 | 16.4 | 4.25 | 21.4 | 4.7 | 47.3 | 20.8 | Single-crystal | Shell | 245 | 0
| SM75 | 75 | 17 | 4.4 | 21.7 | 4.8 | 47.3 | 20.5 | Single-crystal | Shell | 264 | 0
| SM110 | 110 | 35 | 3.15 | 43.5 | 3.45 |  |  | Single-crystal | Shell | 639 | 0
| SP130 | 130 | 33 | 3.95 | 42.8 | 4.8 | 63.76 | 32.05 | Single-crystal | Shell | 429 | 0
| SP140 | 140 | 34 | 4.25 | 42.8 | 4.7 | 63.76 | 32.05 | Single-crystal | Shell | 490 | 0
| SP150 | 150 | 34 | 4.4 | 43.4 | 4.8 | 63.76 | 32.05 | Single-crystal | Shell | 585 | 0
AstroPower | AP50 | 50 | 16.7 | 3 | 21.5 | 3.3 | 33.8 | 26 | Single-crystal | AstroPower | 0 | 0
| AP75 | 75 | 17 | 4.4 | 21 | 4.8 | 47.2 | 20.7 | Single-crystal | AstroPower | 419 | 0
| AP110 | 110 | 16.7 | 6.6 | 20.7 | 7.5 | 58.1 | 26 | Single-crystal | AstroPower | 525 | 0
| AP120 | 120 | 16.9 | 7.1 | 21 | 7.7 | 58.1 | 26 | Single-crystal | AstroPower | 649 | 0
Kyocera | KC70 | 70 | 16.9 | 4.14 | 21.5 | 4.35 | 34.1 | 25.7 | Polycystaline | Kyocera | 300 | 0
| KC80 | 80 | 16.9 | 4.73 | 21.5 | 4.97 | 38.4 | 25.7 | Polycystaline | Kyocera | 415 | 0
| KC120 | 120 | 16.9 | 7.1 | 21.5 | 7.45 | 56.1 | 25.7 | Polycystaline | Kyocera | 507 | 0
| KC125 | 125 | 17.4 | 7.2 | 21.7 | 8 | 56 | 25.7 | Polycystaline | Kyocera | 455 | 0
| KC158 | 158 | 23.2 | 6.82 | 28.9 | 7.58 | 50.8 | 39 | Polycystaline | Kyocera | 602.5 | 0
| KC167 | 167 | 23.2 | 7.2 | 28.9 | 8 | 50.8 | 39 | Polycystaline | Kyocera | 625 | 0
BP/Solarex | SX75 | 75 | 17.3 | 4.35 | 21.8 | 4.75 | 57.31 | 28.78 | Polycystaline | BP/Solarex | 313 | 0
| SX110 | 110 | 32.9 | 3.34 | 41.2 | 3.69 | 57.31 | 28.78 | Polycystaline | BP/Solarex | 238 | 0
| SX120 | 120 | 33.7 | 3.56 | 42.1 | 3.87 | 57.31 | 28.78 | Polycystaline | BP/Solarex | 595 | 0
| SX140 | 140 | 34 | 4.11 | 42.8 | 4.5 | 62.7 | 31.1 | Polycystaline | BP/Solarex | 545 | 0
| SX150 | 150 | 34.5 | 4.35 | 43.5 | 4.75 | 62.7 | 31.1 | Polycystaline | BP/Solarex | 564 | 0
| SX160 | 160 | 35.1 | 4.55 | 44.2 | 4.8 | 62.7 | 31.1 | Polycystaline | BP/Solarex | 629 | 0
| SX170 | 170 | 36 | 4.72 | 44.2 | 5 | 62.7 | 31.1 | Polycystaline | BP/Solarex | 789 | 0
SunWise | SW75 | 75 | 17.4 | 4.88 | 21.4 | 5.7 | 56.93 | 22.8 | Single-crystal | SunWise | 371 | 0
| SW85 | 85 | 17.4 | 5.17 | 21.4 | 5.9 | 56.93 | 22.8 | Single-crystal | SunWise | 371 | 0
| SW90 | 90 | 17.4 | 5.46 | 21.4 | 6 | 56.93 | 22.8 | Single-crystal | SunWise | 393 | 0
| SW115 | 115 | 16.7 | 6.89 | 21 | 7.7 | 56.93 | 22.8 | Single-crystal | SunWise | 499 | 0
| SW120 | 120 | 16.7 | 6.89 | 21 | 7.7 | 56.93 | 22.8 | Single-crystal | SunWise | 525 | 0
Sharp | 123W | 123 | 17.2 | 7.16 | 21.3 | 8.12 | 59.06 | 26.08 | Polycystaline | Sharp | 479 | 0
| 80W | 80 | 17.1 | 4.67 | 21.3 | 5.31 | 47.28 | 20.88 | Polycystaline | Sharp | 0 | 0
| 165W | 165 | 34.6 | 4.77 | 43.1 | 5.46 | 66.98 | 38.22 | Polycystaline | Sharp | 545 | 0
| 175W | 175 | 35.4 | 4.95 | 44.4 | 5.55 | 62.05 | 32.44 | Single-crystal | Sharp | 578 | 0
| 185W | 185 | 36.2 | 5.11 | 44.9 | 5.75 | 62.05 | 32.52 | Single-crystal | Sharp | 611 | 0
Photowatt | PW750-80 | 80 | 17.3 | 4.6 | 21.9 | 5 | 48.7 | 21.9 | Polycystaline | Photowatt | 419 | 0
| PW1000-100 | 100 | 17.2 | 5.8 | 21.6 | 6 | 52.6 | 26.5 | Polycystaline | Photowatt | 520 | 0
Evergreen | EC55 | 55 | 16.1 | 3.42 | 20 | 3.9 | 32.1 | 25.7 | Polycystaline | Evergreen | 299 | 0
| EC110 | 110 | 16.1 | 6.84 | 20 | 7.8 | 62.4 | 25.7 | Polycystaline | Evergreen | 559 | 0

## Inverters
Real Goods Inverters
| Model | Part No. | Output | Input | Charger | Price
Trace | 812 | 27-212 | 575 | 12 | Y | 650 | 0
| DR1512 | 127-237 | 1500 | 12 | Y | 950 | 0
| DR2412 | 27-245 | 2400 | 12 | Y | 1285 | 0
| 2512 | 27-225 | 2500 | 12 | Y | 1575 | 0
| SW2512 | 27-247 | 2500 | 12 | Y | 2485 | 0
| 724 | 27-222 | 425 | 24 | Y | 725 | 0
| DR1524 | 27-238 | 1500 | 24 | Y | 895 | 0
| DR2424 | 27-242 | 2400 | 24 | Y | 1225 | 0
| DR3624 | 27-246 | 3600 | 24 | Y | 1475 | 0
| 2232 | 27-231 | 2200 | 24 | Y | 1900 | 0
| 2536 | 27-233 | 2500 | 24 | Y | 1950 | 0
| 2548 | 27-229 | 2500 | 24 | Y | 1995 | 0
| SW4024 | 27-236 | 4000 | 24 | Y | 3185 | 0
| SW4048 | 27-241 | 4000 | 48 | Y | 3185 | 0
| SW5548 | 27-249 | 5500 | 48 | Y | 3680 | 0
Heart | Freedom 10 | 27-405 | 1000 | 24 | Y | 1095 | 0
| Freedom 20 | 27-408 | 2000 | 24 | Y | 1650 | 0
| Freedom 25 | 27-409 | 2500 | 24 | Y | 1890 | 0
| HF-12-600 | 27-404 | 300 | 24 | Y | 600 | 0

## Power Centers
Real Goods Power Centers
| Model | Part No. | Load in Watts | Load in Amps | Voltage | Price | Supported 24V Inverters
Trace | SW4024/S | 27-271 | 4000 | 200 | 24 | 4995 | (Trace SW4024)
| SW4048/S | 27-273 | 4000 | 200 | 48 | 4995 | (Trace SW4028)
| SW5548/S | 27-275 | 5500 | 200 | 48 | 5695 | (Trace SW5548)
| SW4024/D | 27-272 | 4000 | 200 | 24 | 8995 | (Trace SW4024)
| SW4048/D | 27-274 | 4000 | 200 | 48 | 9137 | (Trace SW4048)
| SW5548/D | 27-276 | 5500 | 200 | 48 | 9995 | (Trace SW5548)
| DR1512/S | 27-258 | 1500 | 100 | 12 | 1979 | (Trace DR1512)
| DR1512/D | 27-259 | 1200 | 100 | 12 | 3637 | (Trace DR1512)
| DR2412/S | 27-260 | 2400 | 100 | 12 | 2295 | (Trace DR2412)
| DR2412/D | 27-261 | 2400 | 100 | 12 | 4337 | (Trace DR2412)
| DR1524/S | 27-262 | 1500 | 100 | 24 | 1879 | (Trace DR1524)
| DR1524/D | 27-263 | 1500 | 100 | 24 | 3529 | (Trace DR1524)
| DR2424/S | 27-264 | 2400 | 100 | 24 | 2295 | (Trace DR2424)
Disconnects
Trace
| DC175 | 25010 |  | 175 | 24 | 310
| DC250 | 25011 |  | 250 | 24 | 310

## Batteries
Real Goods Batteries
| Model | Amp Hours | Volts | Price | Price Per Amp Hour
Golf Cart | 15101 | 215 | 6 | 80 | 0
L-16 | 15102 | 370 | 6 | 199 | 0
Gel Cell | 15210 | 32 | 12 | 69 | 0
| 15211 | 51 | 12 | 119 | 0
| 15212 | 74 | 12 | 149 | 0
| 15213 | 86 | 12 | 159 | 0
| 15214 | 98 | 12 | 189 | 0
| 15215 | 183 | 12 | 339 | 0
| 15216 | 225 | 12 | 399 | 0
| 15217 | 180 | 6 | 189 | 0
HUP | 15810 | 845 | 12 | 1695 | 0 | (10 yr warrenty)
| 15811 | 950 | 12 | 1810 | 0
| 15812 | 1055 | 12 | 1955 | 0
| 15813 | 1160 | 12 | 2145 | 0
| 15814 | 1270 | 12 | 2255 | 0
| 15815 | 1375 | 12 | 2365 | 0
| 15816 | 1480 | 12 | 2650 | 0
| 15817 | 1585 | 12 | 2725 | 0
| 15818 | 1690 | 12 | 2850 | 0
Surrette | JRB8796 | 854 | 6 | 694 | 0 | (15 yr warrenty)
| JRB83206 | 1025 | 6 | 833 | 0 |  |  | CS-25PS
| JRB8736 | 460 | 6 | 211 | 0
| JRB8797 | 682 | 6 | 555 | 0 |  |  | CS-21PS
Notes
|  |  |  | 77 | 1 | 10%
|  |  |  | 20 | 0
Battery Temperature
| 80 | 1 |  | 77 | 0
| 70 | 1.04 |  | 70 | 0 |  | 0
| 60 | 1.11 |  | 60 | 0
| 50 | 1.19 |  | 50 | 0
| 40 | 1.3 |  | 40 | 0
| 30 | 1.4 |  | 30 | 0 |  | 0
| 20 | 1.59 |  | 20 | 0
| 10 |  |  | 10 | 0
| 0 |  |  | 0 | 0
| -10 |  |  | -10 | 0
| -20 |  |  | -20 | 0
| -30 |  |  | -30 | 0
| -40 |  |  | -40 | 0
Every 15F above 77F, efficiency is increased by 10%
Every 15F below 77F, efficiency is decreased by 10%
Batteries
| L-16 |  | 12
| Amps |  | 350
| Available Watts per day |  | 0

## Deep Well Pumps
Real Goods
| Type | Service Cycle | Lift | GPM | Volts | Watts | Amps | Price
SHURflo | Diaphram | 2 yrs
| 9300 |  | 20 | 0 | 30 | 58 | 1.5 | 695
|  |  | 40 | 0 | 30 | 65 | 1.7 | 695
|  |  | 60 | 0 | 30 | 78 | 2.1 | 695
|  |  | 80 | 0 | 30 | 89 | 2.4 | 695
|  |  | 100 | 0 | 30 | 99 | 2.6 | 695
|  |  | 120 | 0 | 30 | 104 | 2.8 | 695
|  |  | 140 | 0 | 30 | 115 | 3.1 | 695
|  |  | 160 | 0 | 30 | 123 | 3.3 | 695
|  |  | 180 | 0 | 30 | 135 | 3.6 | 695
|  |  | 200 | 0 | 30 | 141 | 3.8 | 695
SunRise | Piston | 10 yrs | (needs a $340 controller)
5218
|  |  | 25 | 0 | 48 | 0 | 0 | 1849
|  |  | 50 | 0 | 48 | 0 | 0 | 1849
|  |  | 75 | 0 | 48 | 0 | 0 | 1849
|  |  | 100 | 0 | 48 | 0 | 0 | 1849
|  |  | 125 | 0 | 48 | 0 | 0 | 1849
|  |  | 150 | 0 | 48 | 0 | 0 | 1849
|  |  | 175 | 0 | 48 | 0 | 0 | 1849
|  |  | 200 | 0 | 48 | 0 | 0 | 1849
5222
|  |  | 25 | 0 | 48 | 0 | 0 | 1849
|  |  | 50 | 0 | 48 | 0 | 0 | 1849
|  |  | 75 | 0 | 48 | 0 | 0 | 1849
|  |  | 100 | 0 | 48 | 0 | 0 | 1849
|  |  | 125 | 0 | 48 | 0 | 0 | 1849
|  |  | 150 | 0 | 48 | 0 | 0 | 1849
|  |  | 175 | 0 | 48 | 0 | 0 | 1849
|  |  | 200 | 0 | 48 | 0 | 0 | 1849
5226
|  |  | 25 | 0 | 48 | 0 | 0 | 1849
|  |  | 50 | 0 | 48 | 0 | 0 | 1849
|  |  | 75 | 0 | 48 | 0 | 0 | 1849
|  |  | 100 | 0 | 48 | 0 | 0 | 1849
|  |  | 125 | 0 | 48 | 0 | 0 | 1849
|  |  | 150 | 0 | 48 | 0 | 0 | 1849
|  |  | 175 | 0 | 48 | 0 | 0 | 1849
|  |  | 200 | 0 | 48 | 0 | 0 | 1849
5230
|  |  | 25 | 0 | 48 | 0 | 0 | 1849
|  |  | 50 | 0 | 48 | 0 | 0 | 1849
|  |  | 75 | 0 | 48 | 0 | 0 | 1849
|  |  | 100 | 0 | 48 | 0 | 0 | 1849
Grundfos | Centrifugal | 15 yrs | (additional controller costs $1239)
Sunsub 400
|  |  | 15 | 16 | 48 | 200 |  | 700
|  |  | 30 | 20 | 48 | 400 |  | 700
|  |  | 80 | 8.4 | 48 | 400 |  | 700
|  |  | 100 | 3 | 48 | 250 |  | 700
|  |  | 130 | 3.7 | 48 | 400 |  | 700
Sunsub 2000
|  |  | 15 | 43 | 48 | 512 |  | 865
|  |  | 30 | 83 | 48 | 1920 |  | 956
|  |  | 130 | 28 | 48 | 1920 |  | 860
|  |  | 225 | 15 | 48 | 1920 |  | 865
SolarJack
| 10 | 0 | 24 |  | 96 | 790
| 20 | 0 | 24 |  | 96 | 790
| 30 | 0 | 24 |  | 96 | 790
| 40 | 0 | 24 |  | 96 | 790
| 50 | 0 | 24 |  | 96 | 790
| 60 | 0 | 24 |  | 120 | 790
| 70 | 0 | 24 |  | 120 | 790
| 80 | 0 | 24 |  | 160 | 790
| 90 | 0 | 24 |  | 160 | 790
| 100 | 0 | 24 |  | 160 | 790
SolarJack Duplex
| 20 | 0 | 24 |  | 1.31 | 730
| 40 | 0 | 24 |  | 1.48 | 730
| 60 | 0 | 24 |  | 1.65 | 730
| 80 | 0 | 24 |  | 1.82 | 730
| 100 | 0 | 24 |  | 2 | 730
| 120 | 0 | 24 |  | 2.16 | 730
| 140 | 0 | 24 |  | 2.33 | 730
| 160 | 0 | 24 |  | 2.5 | 730
| 180 | 0 | 24 |  | 2.68 | 730
| 200 | 0 | 24 |  | 2.85 | 730
Note on E19: Subtract 15% when running off of batteries from the published specs.
Note on G19: Subtract 15% from the published specs for battery use.
Note on E29: Subtract 15% when running off of batteries from the published specs.
Note on G29: Subtract 15% from the published specs for battrery use.
Note on G30: Subtract 15% from the published specs for battrery use.
Note on E39: Subtract 15% when running off of batteries from the published specs.
Note on G39: Subtract 15% from the published specs for battrery use.
Note on E49: Subtract 15% when running off of batteries from the published specs.
Note on G49: Subtract 15% from the published specs for battrery use.

## Booster Pumps
Jade Mountain
Flowlight
| GPM | PSI | Volts | Amps | Watts | Price
| 4.5 | 30 | 12 | 13 | 0 | 540
| 4.5 | 40 | 12 | 15 | 0 | 540
| 4.5 | 50 | 12 | 16 | 0 | 540
| 4.1 | 65 | 12 | 22 | 0 | 540
| 3.4 | 30 | 24 | 6.5 | 0 | 540
| 3.3 | 40 | 24 | 7.5 | 0 | 540
| 3.1 | 50 | 24 | 8 | 0 | 540
| 2.7 | 65 | 24 | 11 | 0 | 540
SHURFLo 2088
| 3.5 | 10 | 12 | 6 | 0 | 190
| 3.5 | 30 | 12 | 8 | 0 | 190
| 3.5 | 50 | 12 | 12 | 0 | 190
| 3.5 | 10 | 12 | 3 | 0 | 190
| 3.5 | 30 | 12 | 4 | 0 | 190
| 3.5 | 50 | 12 | 12 | 0 | 190

## PV Rack
| Dia | Length | Price | Quantity | Total
Perf Tube | 1.25 | 6 | 19.99 | 3 | 0
| 1.5 | 6 | 24.99 | 5 | 0
Bolts |  | 1.5 | 0.05 | 10 | 0
Hinges |  |  | 4.49 | 4 | 0
0

## Refridgeration
Propane Fridge
Propane /Gallon |  | 0.96
|  | Cubic Feet | Gallons/day | Lbs/day | Gallons/Year | Price | Propane Cost
| Crystal Cold | 18 | 0.35 | 1.5 | 0 | 2499 | 0
|  | 14 | 0 | 1.25 | 0 | 2430 | 0
| Serval | 10 | 0 |  | 0 | 1295 | 0
[5 empty] | 0 |  | 0
DC Fridge
|  | Cubic Feet | Amps @ 70 | Amps @ 90 | Watts/Day
| Sunfrost | 19 | 0 | 0 | 0
|  | 16 | 0 | 0 | 0
Propane & Electric
|  |  | Gallons/day | Amps @ 90 | Watts/Day | Watts @12VDC
| Explorer | 15.6 | 0 | 0 | 2200 | 260

## Chargers
Charge Controllers
|  | Max Amp | Max Voltage | Input Voltage | Battery Voltage | Price
Outback | MX60 | 60 | 140 | 48 | 24 | 487
RV Products | 50 | 50 | 57 | 24 | 24
| 3048 | 30 | 140 | 48 | 24 | 422
| 6048 | 60 | 140 | 48 | 24

## Old Data
NOTE: this is old data I'm just keeping around for alittle while still
Real Goods Panels
| Model | Watts | Amps | Volts | Price | Price Per Watt
SunSense | SP-130 | 130 | 3.95 | 33 | 0 | 0
| SP-140 | 140 | 4.25 | 34 | 0 | 0 |  |  |  | 590
| SM-75 | 75 | 4.4 | 17 | 0 | 0
| SP-70 | 70 | 4.25 | 16.5 | 0 | 0
| SP-65 | 65 |  | 17 | 0 | 0
Siemens | JPV3601 | 50 | 2.95 | 17 | 329 | 0 | (SR50)
| JPV155 | 55 | 3.15 | 17.4 | 379 | 0 | (SR50)
| 11106 | 75 | 4.4 | 17 | 495 | 0 | (SM55)
| 11577 | 110 | 3.15 | 35 | 639 | 0 | (SP110)
| 11575 | 130 | 3.95 | 33 | 739 | 0 | (SP130) | 63.76 | 32.05 | 1.57
| SP-140 | 140 | 4.25 | 34 | 849 | 0 | (SP140)
| 11576 | 150 | 4.4 | 34 | 869 | 0 | (SP150) | 63.76 | 32.05 | 1.57
Uni-Solar | 11234 | 5 | 0.3 | 16.5 | 109 | 0 | (flex)
| 11227 | 32 | 1.94 | 16.5 | 239 | 0
| 11235 | 32 | 1.94 | 16.5 | 395 | 0 | (flex)
| 11233 | 42 | 2.54 | 16.5 | 289 | 0
| 11228 | 64 | 3.88 | 16.5 | 419 | 0
Evergreen | 11582 | 55 | 3.42 | 16.1 | 299 | 0
| 11581 | 110 | 6.84 | 16.1 | 559 | 0
Kyocera | 11567 | 80 | 4.73 | 16.9 | 465 | 0
| 11568 | 120 | 7.1 | 16.9 | 685 | 0 |  | 56.1 | 25.7 | 2
AstroPower | 11165 | 75 | 4.4 | 17 | 419 | 0
| JPV3970 | 120 | 7.1 | 16.9 | 649 | 0
http://www.earthsolar.com/
Sharp | 175W | 175 | 4.95 | 35.4 | 635 | 0 |  | 62.05 | 32.44 | 1.812
| 165W | 165 | 4.77 | 34.6 | 608 | 0 |  | 62.05 | 32.44 | 1.812
| 123W | 123 | 7.16 | 17.2 | 479 | 0 |  | 62.05 | 32.44 | 1.812
Kyocera | KC120 | 120 | 7.1 | 16.9 | 449 | 0
| SP140 | 140 | 4.25 | 33 | 554 | 0 |  | 56.1 | 25.7 | 1.4
BP Solar | 2150S | 150 | 4.45 | 34 | 554 | 0 |  | 62.5 | 31.1 | 1.06
http://www.cheapestsolar.com
Siemens | SP-150 | 150 | 4.4 | 34 | 600 | 0
BP Solar | BP-150 | 150 | 4.45 | 34 | 600 | 0
Secret Source :-)
BP Solar | BP150 | 150 | 4.45 | 34 | 532 | 0
CO Solar
Sharp | 165W | 165 | 4.77 | 34.6 | 651.75 | 0
| 123W | 123 | 7.16 | 17.2 | 485.85 | 0
http://www.partsonsale.com/kyocera.html
Kyocera | KC158 | 158 | 6.82 | 23.2 | 615 | 0 |  | 51 | 39 | 1.4

## Water
FIXME: for now this is just a set of notes
Vertical feet = PSI x 2.31
Watts = (Feet x GPM x 18.8)/Pump efficiency%
Pump Efficiency is usually around 45% (varies between 30-60%)
PV Array Watts = pumping watts x 1.25
1 horsepower = 746 watts/pump efficiency
Pump Efficiency is usually around 80%, so 1 horsepower = 932 watts